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EXPERIMENT
 NAME
: 
T
O
 
STUDY THE SP
EED OF SOUND 
IN AIR AT ROOM TEMPERATURE USING A RESONANCE TUBE BY TWO RESONANCE POSITIONS.
THINGS WE NEED: 
1. Resonance tube appa
r
atus
2. Two tuning forks
 of different frequency
3.  Rubber Pad
SPECIFICATION :
 
The resonance tube experiment determines the speed of sound in air by measuring the resonant lengths of an air column and using the relationship between frequency, wavelength, and speed 
of sound 
(
ν
= 
f
λ
)
.
 
This apparatus having a simple stainless steel water reservoir, vertical 
s.s.
 
resonance tube, a transparent plastic tube along the meter scale to read reading on the scale with a tuning fork and vertical support column complete with metric scale. 
Dimensions:
 47*7*6 cm 
approx..
Weight: 3.5 kg 
approx
HSN 
code :
 9027
 
GST :
 A General  Standard  18%
BRAND  :
  OM  LABS
Note: Specifications and image are subject to change w/o
Notice due to continuous improvement.
                 The 
youtube
 video link give
n below
https://youtu.be/cTvMUhwwATg?si=nO6_ltfIqnGrn
D
3p
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